Week 6 Hands on Checklist:

| Image acquisition and optimization |  |
| --- | --- |
| Compare lung imaging at the right inferior costal margin utilizing the curvilinear, phased array and linear probe. |  |
| Assess for lung sliding with shallow and deep depths |  |
| Assess for lung sliding with high and low gain |  |
| Compare lung sliding in the sagittal and transverse planes |  |
| M-Mode |  |
| Place M-MODE between two ribs, identify the pleural line, absence/presence of pneumothorax and a lung pulse |  |
| Color and Pulse Wave Doppler |  |
| Identify the inferior costal artery and vein |  |